1. Is it possible to identify wells with less than 10 active electrodes in Runs 1-3 (Base line)? Then to exclude data from that well in both conditions, base line and treated from the analysis.
2. 2010317 MW 1076-37 Columns 7 and 8 were dosed incorrectly, can you exclude wells A7-F7 and A8-F8 from the analysis.
3. 20160531 MW 1048-15 Columns 1 and 2 were dosed incorrectly, can you exclude wells A1-F1 and A1-F1 from the analysis.
4. Plate MW 1042-50 was used for both run 2 and 3. Plate MW 1044-1 was used in run 3, this error was corrected in the raw file.
5. TX001598 and TX009212 duplicated in consecutives rows. The second row had different concentrations than the first. Correct concentrations were added to the raw file.