## TSCA cultures
culture_folders | lab notebook version | lab_notebook_notes | date_lab_notebook_reviewed | my notes | lab notes to follow up | person | need lab followup org | need lab followup | lab notes from follow up | data analysis follow up | need analysis followup | overall_status
20201104 Culture G1 | One Note scan | no notes | 2023-03-02 |  |  |  | 0 | 0 |  |  | 0
20201125 Culture G2 | One Note scan | Plate 71-7113 40 min treated end time: "automated recording stopped ~1/3 into it. Restrated at 4:40. Added 2/3 the time; about 27 mintues." | 2023-03-02 | Theresa/seline/someone created a spliced version for some endpoints. Will consider if I trust that, and if consistent with other spliced files. |  |  | 0 | 0 |  | Theresa/seline/someone created a spliced version for some endpoints. Will consider if I trust that, and if consistent with other spliced files | 1
20201125 Culture G3 | One Note scan | 198C11 orange color | 2023-03-02 | ask if this is an issue | Do we care about color change? | Tim | 1 | 0 | See convo with Tim 3/7/23 - MEA activity should not be affected, but there could be interference in the LDH or AB. Do follow up analysis) | check for potential interference in LDH or AB for this compound | 1
20201202 Culture G4 | One Note scan | no notes | 2023-03-02 |  |  |  | 0 | 0 |  |  | 0
20201202 Culture G5 | One Note scan | no notes | 2023-03-02 |  |  |  | 0 | 0 |  |  | 0
20210120 Culture G6 (198F11 may need repeat) | One Note scan | Plate 72-8208 "hit stop began recording while offset was running". Plate 72-8209 "recording had stopped. Thought I had forgot to start it. Started it again then realized mistake. Actual start time was 2:18 pm" | 2023-03-02 |  | 72-8208 - get clarification on impact of recording while offset was running. | Theresa | 1 | 1 |  | Will see if plate 72-8209 looks that much different than the other replicates (given the baseline decline, 20-24 min of rest might matter?) | 1
20210120 Culture G7 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210210 Culture G8 | One Note scan | Plate 71-7011: "dosing error, added 155uL dosing solution to columns 1-4" [should only be 55uL] / Plate 75-5802: "problems with plate; transferred to new plate 130uL" | 2023-03-03 | Will confirm with lab that 71-7011 columns 1-4 are not usable, then set wllq to 0 in table. Will confirm with lab that 75-5802 is still usable | Will confirm with lab that 71-7011 columns 1-4 are not usable, then set wllq to 0 in table. Will confirm with lab that 75-5802 is still usable | Theresa | 1 | 1 |  |  | 0
20210210 Culture G9(may need repeat) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210224 Culture G10 | One Note scan | Plate 71-7013: "switched columns 3 and 4" | 2023-03-03 | doses in Calculations file currently appear normal as of 3/3/23 | confirm that this means that the doses should be switched in the calculations files, then do that | Theresa | 1 | 1 |  |  | 0
20210224 Culture G11 | One Note scan | "Performed half media change on DIV 14"; Plate 71-7015 Cell-Titer Blue "reversed plate orientation" | 2023-03-03 | For plate 1 reorientation, it doesn't look like any modification were made in the calculations file as of 3/2/23. | I will ask Theresa what the dosing orientation should be here | Theresa | 1 | 1 |  | Half media change started here - will do overall analysis to follow up. | 1
20210310 Culture G12 (all but 199B10 need repeat) | One Note scan | Plate 75-5820, 40 min treated end time: "forgot to close Maestro door, no CO2 for recording" | 2023-03-03 |  |  |  | 0 | 0 |  | will compare replicates | 1
20210310 Culture G13 | One Note scan | Plate 75-8003 "started recording for baseline at 12:49 instead of 12:39 pm" (so the rest time from moving to recording was 30 min instead of 20 min) | 2023-03-03 |  |  |  | 0 | 0 |  | First, recall if rest time has been consistent for all mea actue data to date. Then, I guess I'll take a look at how much the initial rest time seems to matter.. Or ask Tim first | 1
20210324 Culture G14 (199E02 may need repeat) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210324 Culture G15 (199E08, 199E09, 199E10 may need repeat) | One Note scan | "199E07: dark red" | 2023-03-03 |  | Do we care about color change? | Tim | 1 | 0 | See convo with Tim 3/7/23 - MEA activity should not be affected, but there could be interference in the LDH or AB. Do follow up analysis) | check for potential interference in LDH or AB for this compound | 1
20210407 Culture G16 | One Note scan | Plate 75-8105 [Plate 1]: "Top dose is higher than it is supposed to be, Added 195.5 uL of media instead of 295.5uL. Corrected for second and third plate." | 2023-03-03 | No modifications have been made to calculations file meta data to reflect the altered top dose as of 3/3/23. I think the conc's should be 1.5* the current conc's (45uM where is currently 30). | See notes, confirm with Theresa that top conc should be 1.5*current | Theresa | 1 | 1 |  |  | 0
20210407 Culture G17 (199G10, 199G11 may need repeat) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210414 Culture G18 (199H09, 199H12 may need repeat) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210414 Culture G19 (200A08 may need repeat) | One Note scan | Plate 75-8114, for LDH substrate addition Time: "Tipped plate; lost liquid; Lysis row was impacted / Had enough to do two full and three 1/2 lysis. Ran out of substrate, only have two controls" | 2023-03-03 | In the Calculations file, 3 wells are currently labelled as "lysis" (i.e., full Lysis). So I don't know for sure which of the 3 are reliable. Since we rely on the half lysis anyways, I'm just going to set the wllq to 0 for all 3 full lysis wells (rather than ask Theresa to remember which of the 3 is not legit, from almost 2 years ago!). | But still want to ask - is this data usable in general? A tipped plate seems not good | Theresa | 1 | 1 |  |  | 0
20210428 Culture G20 | One Note scan | Plate 75-8201, cell-titer blue transfer time: "reversed orientation". Also for LDH positive control "new control each plate" | 2023-03-03 | None of the CTB values from any of the 3 individual plate scans align with the Calculations file (not even if I reorient the plate any way). | So 2 issues - a) does all of the data in the Calculations file need to be updated for all 3 plates? B) how should the data or meta data be oriented for Plate 1? | Theresa | 1 | 1 |  | New LDH control used each plate. Make sure this isn't too different (since you normalize by experiment date) | 1
20210428 Culture G21 | One Note scan | for LDH (positive control): "new control each plate; new vial + control" | 2023-03-03 |  |  |  | 0 | 0 |  | New LDH control used each plate. Make sure this isn't too different (since you normalize by experiment date) | 1
20210505 Culture G22 (200D12, 200E02 may need repeat) | One Note scan | A compound noted to be dark blue (scan cut off). "Top three to four doses sunk to the bottom of the well" | 2023-03-03 |  | Do we care about color change? Do we care about sinking to bottom of well? | Tim | 1 | 1 | See convo with Tim 3/7/23 - MEA activity should not be affected, but there could be interference in the LDH or AB. Do follow up analysis). Still need to check up on sinking stuff. | check for potential interference in LDH or AB for this compound | 1
20210505 Culture G23 (200F01 may need repeat) | One Note scan | diff LDH positive control used P1 vs P2 & P3 | 2023-03-03 |  |  |  | 0 | 0 |  | diff LDH positive control used P1 vs P2 & P3 | 1
20210512 Culture G24 (200H02 may need repeat) | One Note scan | Plate 75-8213, 40 min treated end time: "recording interrupted Axis shut down / Restarted, recorded for an additional 7 minutes" "G12 is a deep pink. Addition of media did not change coloration. Solution sunk in Columns 5, 6, 7, 8" | 2023-03-03 | Will ask lab if there is a way to combine | Ask if there is a way to combine recordings; Do we care about color change? Do we care about sinking to bottom of well? | Seline; Tim | 1 | 1 | See convo with Tim 3/7/23 - MEA activity should not be affected, but there could be interference in the LDH or AB. Do follow up analysis). Still need to check up on sinking stuff, still need to do follow up on combining recording (though that might be analysis) | check for potential interference in LDH or AB for this compound | 1
20210512 Culture G25 | One Note scan | Next to the table recording treatment times: "with shaking" | 2023-03-03 |  |  |  | 0 | 0 |  | See if these plate controls look significantly different due to shaking. If too diff, I might recommend throwing these out | 1
20210526 Culture G26 (201B07, 201C02, 201C03 may need repeat) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210526 Culture G27 (201D02 may need repeat) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210602 Culture G28 (201E01, 201F04, 201F05) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210602 Culture G29 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210609 Culture G30 (Repeat all) | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210630 Culture G31 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210630 Culture G32 | One Note scan | "200E02 dark blue; top three doses clearly sink and stick to cells" | 2023-03-03 |  | Do we care about color change? Do we care about sinking to bottom of well? | Tim | 1 | 1 | See convo with Tim 3/7/23 - MEA activity should not be affected, but there could be interference in the LDH or AB. Do follow up analysis). Still need to check up on sinking stuff, still need to do follow up on combining recording (though that might be analysis) | check for potential interference in LDH or AB for this compound | 1
20210707 Culture G33 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210707 Culture G34 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210714 Culture G35 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0
20210811 Culture G36 | One Note scan | Plate 75-9120, LDH stop addition time: "went for twenty minutes instead of thirty minutes" | 2023-03-03 |  |  |  | 0 | 0 |  | See if this replicate looks too different | 1
20210811 Culture G37 | One Note scan | no notes | 2023-03-03 |  |  |  | 0 | 0 |  |  | 0